## Slide 1: Merryl’s Handy Dandys

## Slide 2: Patient Care

## Slide 3
Contrast Media
Positive
Iodine
Barium
Thick
Oil Based
Water Based
Non-Ionic (Safer)
Ionic
Decrease Osmolality
Increase Osmolality
Thin
Air
CO2
Negative

## Slide 4
Aseptic (freedom from infection)
Medical
Surgical
Eliminates as much as possible
Disinfectant
Complete removal
Sterilization
Bleach, iodine, hydrogen peroxide
Gas
Autoclaving **
Dry heat
Freezing
UV light

## Slide 5
Transmission
Contact
Droplet
Airborne
Gowns
Gloves
Gloves
Mask
N9S mask
C-Diff
Scabies
Cold
Flu
Meningitis
TB
Chickenpox
Measles

## Slide 6
Catheters
Chest
Vascular
GI
GE
Endotracheal
Thoracotomy
Digestive
Veins
SVC
PICC
Arteries

## Slide 7
Diabetic Crisis
Excessive Insulin present
Needs sugar
Excessive sugar
Hyperglycemia
Excessive thirst or urination
Patient needs insulin
Diabetic coma
Hypoglycemia

## Slide 8: Procedures

## Slide 9
Chest Decubs
Fluid
Pneumothorax
Affected Side UP
Air
Pleural Effusion
Affected Side DOWN
Question: What position would you place the patient if you were looking for free air in the left pleural cavity?
Answer: Right Lateral Decub

## Slide 10
Pharynx
Digestive
Respiratory

## Slide 11
JOINTS
Functional
Synarthrodial
Fibrous, Cartilaginous, Synovial
Structural
Amphiarthrodial
Diarthrodial
Non-movable
Slightly
Freely

## Slide 12
Angiography
Arteriogram
Arteries
Venogram
Veins

## Slide 13
RODS
Scotopic vision
Night
CONES
Photopic vision
Day

## Slide 14
C
T
L
DEGREE OF OBLIQUITY 45O
STRUCTURES SHOWN
SAME SIDE STRUCTURES

## Slide 15: Safety

## Slide 16
Ionizing Radiation
EMR
PARTICULATE
Energy (No Mass)
X-RAYS
GAMMA
BETA
ALPHA

## Slide 17
TQA / TQM
QA
QC
People
Equipment

## Slide 18
Somatic Effects
Stochastic
Deterministic
Non-threshold
Probability Increases but severity does not
“All or None”
Cancer, Leukemia, Genetics
Threshold
Probability increases AND severity increases
Cataracts, epilation, erythema
Late Responses (Low Doses)
Early Responses (High Dose)

## Slide 19
Interaction with cells
Direct
DNA in nucleus
Target theory
Indirect (water)
Other than nucleus
Cell 80% H20

## Slide 20
Radiation
Attenuation
Absorption
Transmission

## Slide 21
DIFFERENT PROTECTIVE BARRIER MATERIALS
Lead
Wood
Concrete
Steel
Gypsum board
Pb Glass
Pb acrylic
Or Brick

## Slide 22
Radiosensitivity
Physical
Biological
LET
RBE
Protraction vs. Fractionation
Oxygen Effect
Age
Recovery
Chemical Agents
Hormesis

## Slide 23
Absorbed Dose
Effective Dose
WR + WT
Gray
J/Kg
Dose Equivalent
Sievert

## Slide 24
Absorption efficiency
Conversion efficiency
DQE
High
High
Less Radiation Dose
% Strikes IR
% Absorbed + Conversion
% Useful output

## Slide 25
Dosimeters
Film Badge
TLD
OSL
Pocket Dosimeter
Digital Dosimeter
100 mGya (10mR)
50 mGya (5mR)
10 mGya (1mR)
.1mGya

## Slide 26
Threshold Dose Response
Erythema (redness)
Non-threshold Dose Response
Cancer
Leukemia
Epilation (hair loss)
Cataracts
Life span shortening
Genetics

## Slide 27
LINEAR
NON-LINEAR
THRESHOLD
NON-THRESHOLD

## Slide 28
CONTINUOUS
(old)
FLUORO
PULSED
(new)
INTERMITTENT
(foot on / foot off)

## Slide 29
Stochastic
Non-threshold
Probabilistic
Non-stochastic
Threshold
Deterministic

## Slide 30
FILTRATION
55 keV
77 keV

## Slide 31
SI UNITS OF MEAUSURMENT | 
EXPOSURE | Coulomb / kg Air Kerma
ABSORBED DOSE | Gray (Gyt)
EQUIVALENT DOSE | Sievert = Gy x WR
EFFECTIVE DOSE | Sievert = Gy x WR x WT
KERMA (kinetic energy release per unit mass) | Gya

## Slide 32
Tube
Brems
Characteristic
Patient
Coherent, Unmodified, classical
Compton
Photoelectric
Pair Production
Photodisingration
INTERACTIONS

## Slide 33
TRADITIONAL | SI
ROENTGEN | KERMA c/kg
RAD | GRAY
REM | SIEVERT
CURIE | BEQUEREL
100 RADS = 1 GRAY
1 RAD = 1/100 , .01

## Slide 34: Filtration
Protection
Inherent
Added
Total
Image Production
Compensating
  Wedge
  Trough
  Boomerang
  Ferlic
    Chap’t 2 Vol 1 Merrills

## Slide 35: Image Production

## Slide 36
Grids
Focused
Parallel
Lead strips are angled / canted to meet at a certain SID
Lead strips are parallel and never meet

## Slide 37
Spatial Resolution
CR
DEL
TFT
Pixel Size
Pixel Pitch
Sampling Frequency
DR (DDR)
Matrix

## Slide 38
Radiation Detection Devices
Field Survey
Film Badge
TLD
Geiger-Muller
Cutie Pie
Personnel Monitoring
OSL
POCKET IONIZATION CHAMBER
DIGITAL-INSTA DOSE

## Slide 39
Windowing
Level
Width
BRIGHTNESS
CONTRAST

## Slide 40
Beam Restriction with AEC
Over collimation (too small 8X10)
Over exposure (cell stays on)
Under collimate (too large 14X17)
Underexposure (cell terminates quickly)

## Slide 41
Image Receptors
Analog
Digital
Film Screen
Cassettes
Phosphors
Scintillators
100 speed / 400 speeds
8 Lp/mm
CR
DR (DDR)
Cassette
PSP
Reader
6 Lp/mm
No Cassette
CCD
Indirect
Direct
CMOS
**Wide Dynamic Range & Better contrast resolution

## Slide 42
PSP Reader
Point Scan
Line Scan
Plate moves through reader
Plate is read from both sides
Newer & dual sided
Photodetector
Collects light & sends to ADC
**The PSP plate can lose 25% of its energy in 8 hours**

## Slide 43
PSP Plate
Turbid
Barium Fluoride
Distributed throughout
Needle/ Columnar
Cesium Iodide
Controlled

## Slide 44
DR - Flat Panel detector
Indirect
Direct
A-sI
3 step
Scintillator
TFT Array
Less dose
Photocathode (light  electron)
3000 x 3000 matrix
ADC  Workstation
DEL
a-Se
2 steps
Non-scintillator
TFT Array
More dose
ADC  Workstation
Provides better spatial resolution
Less quantum noise
DEL

## Slide 45
CR
Reader
Red Light  Majority of e- come down
Blue/ Green light  emission from e- coming down
PSP Plate (Barium fluorohalide doped with europium)

## Slide 46
mAs
mA
S

## Slide 47
 | QUANTITY | QUALITY
mAs |  | No change
kVp |  | 
Filtration |  | 
Single Phase Vs. Three phase |  | 
Z # Molybdenum vs.. tungsten |  | 

## Slide 48
CONTRAST
HIGH
LOW
# OF SHADES OF GRAY

## Slide 49
I1
I2
D22
D12
INVERSE SQUARE LAW

## Slide 50
-Patient Dose
-IR Exposure
-Scatter
-Contrast
INCREASE IN COLLIMATION

## Slide 51
A
B
C

## Slide 52
AEC
Phototiming (old)
Behind IR
Ionization chamber (new)
In front of IR
Exit type
Entrance type

## Slide 53
 | Increase in Resolution | Decrease in Resolution
FOV |  | 
MATRIX |  | 
PIXEL |  | 

## Slide 54
LEFT
BASE
Tera
Giga
Mega
Kilo
Hecto
Deka
Deci
Centi
Milli
Micro
Nano
Pico
RIGHT
Meter, Volt, Second, Sievert, Gray, Amp

## Slide 55
BASE
RIGHT
LEFT

## Slide 56
MAGNIFICATION
MF =
SID
SOD
IW
OW
=
SPATIAL RESOLUTION
BLUR
PNEUMBRA =
UNSHARPNESS
FSS x OID
SOD

## Slide 57
ANODE
CATHODE
SID
SOD
OID
IR
OBJECT
TUBE
**Long SID**
**Short OID**
**LONG SOD**

## Slide 58
ANODE
CATHODE

## Slide 59
FOCAL SPOT
EFFECTIVE FSS
ACTUAL FSS

## Slide 61
Half Value Layers | 
1 HVL | 50%
2 HVL | 25%
3 HVL | 12.5%
4 HVL | 6.25%
5 HVL | 3.125%

## Slide 62: Matrix & Pixel Size
3
3
6
6
SMALL MATRIX
LARGE PIXELS
LARGE MATRIX
SMALL PIXELS
3
6

## Slide 63: FOV & PIXEL SIZE
SMALL FOV
SMALL PIXELS
LARGE FOV
LARGE PIXELS

## Slide 64
FOV
MATRIX
PIXEL